## Offshore Wind
Offshore Wind
Asset name | Technology | Country | Phase | Generation capacity (MW)1 | Generation capacity Equinor (MW)* | Area (km2) | Distance from shore (km) | Water depth (m) | Turbines (#) | Turbine capacity (MW) | First power | Commercial Operation Date | Equinor % | Lead company | Partners | Financial consolidation2 | Commercial terms / Support regime3 |  | Contract period
Sheringham Shoal | Fixed | UK | In operation | 317 | 127 | 35 | 17-23 | 20 | 88 | 3.6 | 2011 | 2012 | 40% | Equinor | Macquarie / Equitix | Equity method | ROC | 2 ROCs per MWh | 20 yrs
Dudgeon Offshore Wind Farm | Fixed | UK | In operation | 402 | 141 | 55 | 32 | 18-25 | 67 | 6 | 2017 | 2017 | 35% | Equinor | Masdar / China Resources | Equity method | CfD | GBP 150.00/MWh (2012 real) | 15 yrs
Hywind Scotland | Floating | UK | In operation | 30 | 23 | 4 | 25 | 95-120 | 5 | 6 | 2017 | 2017 | 75% | Equinor | Masdar | Equity method | ROC | 3.5 ROCs per MWh | 20 yrs
Arkona | Fixed | Germany | In operation | 385 | 96 | 39 | 28 | 22-28 | 60 | 6.3 | 2018 | 2019 | 25% | RWE | RWE renewables / Energy Infrastructure Partners | Equity method | Fixed feed-in tariff
Hywind Tampen | Floating | Norway | In operation | 94.6 | 38.786 | 21 | 15 | 300 | 11 | 8.6 | 2022 | 2023 | 41% | Equinor | Petoro / OMV / Vår Energi / Idemitsu / Wintershall DEA | Pro rata (E&P) | Enova / NOx fund | Enova 45% Capex support. NOx fund up to NOK 565 million
Dogger Bank A | Fixed | UK | Production started | 1200 | 480 | 515 | 131 | 18-35 | 95 | 13 | 2023 | 2025** | 40% | SSE Renewables | SSE Renewables / Vårgrønn | Equity method | CfD | GBP 39.65/MWh (2012 Real) | 15 yrs
Dogger Bank B | Fixed | UK | Under construction | 1200 | 480 | 599 | 131 | 25-35 | 95 | 13 | 2025 | 2026 | 40% | SSE Renewables | SSE Renewables / Vårgrønn | Equity method | CfD | GBP 41.61/MWh (2012 Real) | 15 yrs
Dogger Bank C | Fixed | UK | Under construction | 1200 | 480 | 298 | 196 | 22-32 | 86 | 14 | 2026 | 2027 | 40% | SSE Renewables | SSE Renewables / Vårgrønn | Equity method | CfD | GBP 41.61/MWh (2012 Real) | 15 yrs
Empire Wind 1 | Fixed | USA | Under construction | 810 | 810 | 110 | 25-50 | 20-40 | 54 | 15 | 2026 | 2027 | 100% | Equinor |  | Full | OREC | USD 155/MWh | 25 yrs
Empire Wind 2 | Fixed | USA | Planning | 1260 | 1260 | 155 | 25-50 | 30-40 | 84 | 15 |  |  | 100% | Equinor |  | Full
MFW Bałtyk II & III | Fixed | Poland | Under construction | 1440 | 720 | 239 | 22-37 | 21-42 | 100 | 14.4 | 2027 | 2028 | 50% | Equinor | Polenergia | Equity method | CfD | PLN 319.60 per MWh (2022 real)/ inflation-indexed; starting from COD | 25 yrs
MFW Bałtyk I | Fixed | Poland | Planning | 1560 | 780 | 130 | 81 | 21-37 |  |  |  |  | 50% | Equinor | Polenergia | Equity method
Sheringham Shoal and Dudgeon Extensions | Fixed | UK | Planning | 719 | 267.5 |  | 20-40 | [6 empty] | Equinor |  | Full/ Equity method
Donghae1* | Floating | South Korea | Planning | 200 | 70 | 75 | 60 | 150 |  |  |  |  | 35% | KNOC | KNOC / EWP | Equity method
Bandibuli | Floating | South Korea | Planning | 750 | 750 | 150 | 70 | 200 |  |  |  |  | 100% | Equinor |  | Full
Atlas Wind | Floating | USA | Planning | 2000 | 2000 | 324 | [6 empty] | 100% | Equinor |  | Full
Dogger Bank D | Fixed | UK | Planning | 1500 | 750 | 262 | 210 | 21-35 |  |  |  |  | 50% | SSE Renewables | SSE Renewables | Equity method
Central Atlantic lease | Fixed | USA | Planning | 2000 | 2000 | 410 | [6 empty] | 100% | Equinor |  | Full
Celtic Sea lease | Floating | UK | Planning | 1500 | 1500 | 330 | 50-70 | 70-80 |  |  | 2035 | 2037 | 100% | Equinor |  | Full
In addition to the assets listed above Equinor owns:​
- 10% of the shares in Ørsted A/S, accounted for as financial asset
1 Installed capacity (MW) on assets in planning phase is indicative.
2 Financial consolidation:
Equity method: Equity method is applied as set out in IAS 28 Investments in Associates and Joint Ventures.
Pro rata: The activities are accounted for on a pro rata basis using Equinor's ownership share
Full: Full consolidation follows the principles established in IFRS 10 Consolidated Financial Statements
3 Support regime and level indicates conditions first period after Commercial Operation Date (COD)
ROC: Renewable Obligation Certificate
CfD: Contracts for Difference
OREC: Offshore Wind Renewable Energy Certificate
* East West power, KNOC and Equinor are parties to a joint development agreement whereby EWP has a 30% working interest.
** Timeline reflects end of construction per operator’s financial reporting.

## Onshore Renewables
Onshore Renewables
Asset name | Technology | Country | Phase | Generation capacity (MW) | Generation capacity Equinor (MW) | Storage capacity (MW/MWh) | Commercial Operation Date | Equinor % | Lead company | Partners | Financial consolidation1 | Commercial terms | Contract period
Apodi Complex | Solar | Brazil | In operation | 162 | 71 |  | 2018 | 44% | Scatec | Scatec / Apodi Participações | Equity method | PPA | 20 yrs
Wilko | Onshore wind | Poland | In operation | 26 | 26 |  | 2022/2023 | 100% | Wento |  | Full
Stępień | Solar | Poland | In operation | 58 | 58 |  | 2023 | 100% | Wento |  | Full
Zagórzyca | Solar | Poland | In operation | 60 | 60 |  | 2023/2024 | 100% | Wento |  | Full
Blandford Road | Battery storage | UK | In operation |  |  | 25/50 | 2023 | 100% | Equinor |  | Full
Mendubim Complex of solar plants | Solar | Brazil | In operation | 531 | 159.3 |  | 2024 | 30% | Scatec | Scatec / Hydro Rein / Alunorte | Equity method | PPA | 20 yrs
Serra da Babilônia 1 Wind Complex | Onshore wind | Brazil | In operation | 223 | 223 |  | 2018 | 100% | Rio Energy |  | Full | PPA | 20 yrs
Lipno | Solar | Poland | In operation | 53 | 53 |  | 2024 | 100% | Wento |  | Full
Welkin Mill | Battery storage | UK | In operation |  |  | 35/70 | 2025 | 100% | Equinor |  | Full
Citrus Flatts | Battery storage | US | Under construction |  |  | 100/200 | 2026 | 100% | East Point Energy |  | Full
Sunset Ridge | Battery storage | US | In operation |  |  | 10/20 | 2025 | 100% | East Point Energy |  | Full
Ingerslev Å | Solar | Denmark | In operation | 65 | 65 |  | 2025 | 100% | BeGreen |  | Full
Serra da Babilônia Solar Complex | Solar | Brazil | Under construction | 140 | 140 |  | 2025 | 100% | Rio Energy |  | Full
NOVEC Portfolio | Battery storage | US | Under construction |  |  | 80/160 | 2026 | 100% | East Point Energy |  | Full
Lyngsåsa | Onshore wind | Sweden | In operation | 95 | 95 |  | 2025 | 100% | BayWa r.e |  | Full
Zawiercie | Battery storage | Poland | Under construction |  |  | 8/16 | 2026 | 100% | Wento |  | Full
Miłosław | Solar | Poland | Under construction | 20 | 20 |  | 2026 | 100% | Wento |  | Full
Ingerslev Å BESS | Battery storage | Denmark | Under construction |  |  | 20/40 | 2026 | 100% | BeGreen |  | Full
In addition to the assets listed above Equinor owns:​
- 100% of Wento (pipeline2 of > 3 GW)
- 100% of East Point Energy LLC (pipeline2 of > 3 GW)
- 100% of BeGreen Solar Aps (pipeline2 of > 2 GW)
- 100% of Rio Energy Participações S.A. (pipeline2 of > 1.5 GW)
- 16.2% of the shares in Scatec ASA, accounted for as financial asset
1 Financial consolidation:
Equity method: Equity method is applied as set out in IAS 28 Investments in Associates and Joint Ventures.
Pro rata: The activities are accounted for on a pro rata basis using Equinor's ownership share
Full: Full consolidation follows the principles established in IFRS 10 Consolidated Financial Statements
2 Risked opportunity pipeline

## Renewable power generation
Power generation (GWh, Equinor share)
Asset name |  | FY2025 | 3Q 2025 | 2Q 2025 | 1Q 2025 | FY 2024 | 4Q 2024 | 3Q 2024 | 2Q 2024 | 1Q 2024 | FY 2023 | 4Q 2023 | 3Q 2023 | 2Q 2023 | 1Q 2023 | FY 2022 | 4Q 2022 | 3Q 2022 | 2Q 2022 | 1Q 2022 | FY 2021 | 4Q 2021 | 3Q 2021 | 2Q 2021 | 1Q 2021 | FY 2020 | 4Q 2020 | 3Q 2020 | 2Q 2020 | 1Q 2020 | FY 2019 | 4Q 2019 | 3Q 2019 | 2Q 2019 | 1Q 2019 | FY 2018 | FY 2017 | FY 2016 | FY 2015
Sheringham Shoal | Offshore wind | 257.267 | 76.5958 | 79.2288 | 101.4425 | 425.5176 | 116.9 | 75.2678 | 89.9499 | 143.4 | 413.2 | 147.5 | 70 | 65.7 | 130 | 390.78 | 130 | 58 | 75.5 | 127.28 | 393.6 | 134 | 65 | 67.5 | 127.1 | 465.3621 | 133.3893 | 85.7728 | 75.4 | 170.8 | 428.514 | 132.3054 | 90.6068 | 73.8563 | 131.7455 | 424 | 455 | 423 | 475
Dudgeon Offshore Wind Farm | Offshore wind | 366.7155 | 112.2335 | 110.6419 | 143.8402 | 584.0684 | 163.2 | 111.5684 | 122 | 187.3 | 551.9 | 181.8 | 99 | 99.1 | 172 | 539.09 | 177 | 81.4 | 104 | 176.69 | 535.7 | 181.9 | 94 | 93.7 | 166.1 | 605.086 | 178.2177 | 113.8683 | 106.4 | 206.6 | 554.2479 | 177.2879 | 119.9666 | 104.4326 | 152.5608 | 553 | 352
Hywind Scotland | Offshore wind | 62.081 | 19.0246 | 20.406 | 22.6504 | 57.2798 | 18.1 | 1.2107 | 10.8691 | 27.1 | 91.69 | 25.2 | 20 | 17.49 | 29 | 100.1 | 28 | 18 | 22.9 | 31.2 | 88 | 24.6 | 16 | 19.9 | 27.5 | 100.6128 | 29.3723 | 20.8405 | 19 | 31.4 | 105.5894 | 30.2768 | 24.6796 | 23.2504 | 27.3825 | 103 | 28
Arkona | Offshore wind | 200.0972 | 56.3223 | 58.8268 | 84.9482 | 326.4435 | 94.3 | 57.2629 | 66.0807 | 108.8 | 326.2 | 97.5 | 55 | 68.7 | 105 | 332.12 | 94.1 | 68 | 64.5 | 105.52 | 343.7 | 105.1 | 71 | 69 | 98.6 | 366.1332 | 108.9892 | 64.344 | 72 | 120.8 | 551.2497 | 102.7018 | 76.753 | 160.6765 | 211.1185 | 156
Apodi Complex | Onshore renewables | 71.1009 | 24.7508 | 19.934 | 26.4161 | 102.0834 | 33.5 | 16.3777 | 24.5057 | 27.7 | 123.1 | 31.8 | 29 | 31.3 | 31 | 137.2 | 37.3 | 37 | 32 | 30.9 | 128 | 35.1 | 30 | 32.1 | 30.8 | 125.1951 | 30.4784 | 34.1167 | 31.7 | 28.9 | 114.6727 | 33.6061 | 30.3586 | 26.3874 | 24.3206 | 15
Guañizuil IIA | Onshore renewables | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 106.5 | 8.2 | 30 | 27.3 | 41 | 141.38 | 43 | 32 | 26.5 | 39.88 | 72.8 | 44.8 | 28
Hywind Tampen | Offshore wind | 124.8418 | 35.7342 | 41.6197 | 47.4878 | 132.9037 | 45.3 | 31.8292 | 20.8745 | 34.9 | 79.5 | 33.3 | 21.4 | 11.4 | 13.4 | 8 | 8
Stępień | Onshore renewables | 39.3013 | 15.2072 | 16.6822 | 7.4119 | 58.9237 | 4.6 | 22.4491 | 25.3745 | 6.5 | 42.86 | 4.4 | 23 | 12.46 | 3
Zagórzyca | Onshore renewables | 38.0171 | 14.8935 | 16.2796 | 6.8441 | 54.7633 | 4.9 | 22.8633 | 20.3 | 6.7 | 36.7 | 3.9 | 21 | 11.8
Wilko | Onshore renewables | 62.6 | 17.9008 | 20.3249 | 24.3743 | 96.7 | 26 | 20.2 | 19 | 31.5 | 35.2 | 30.2 | 5
Dogger Bank A | Offshore wind | 310.4214 | 159.8996 | 107.8962 | 42.6257 | 32.9323 | 14.5 | 9.2744 | 7.258 | 1.9 | 1.1 | 1.1
Serra da Babilônia 1 Wind Complex | Onshore renewables | 542.853 | 210.2904 | 180.2426 | 152.32 | 757.9647 | 215.1 | 217.9647 | 188.1 | 136.8 | 129.5 | 129.5
Mendubim Complex of solar plants | Onshore renewables | 201.4191 | 57.4656 | 69.2615 | 74.692 | 273.5083 | 84.7 | 62.9919 | 64.5164 | 61.3 | 0
Lipno | Onshore renewables | 36.5146 | 14.3867 | 14.4363 | 7.6917 | 31.2584 | 5.4 | 21.3 | 4.5584 |  | 0
Lyngsåsa | Onshore renewables | 141.1117 | 58.9042 | 69.2615 | 12.946 | 0
Ingerslev Å | Onshore renewables | 34.8247 | 22.2598 | 12.5649 | 0
Corrections after reporting period* |  | 4.0521 | 15.0308 | -12 | 1.0213 | 0.3 | 2 | 7 | -9 |  |  |  |  | 1
Renewable energy delivered to grid** |  | 2368.3765 | 875.1654 | 784 | 709 | 2801.6472 | 783.5 | 645.7308 | 633.5126 | 739 | 1859 | 661.1 | 352 | 334.85 | 511 | 1640.67 | 509.4 | 294.4 | 325.4 | 511.47 | 1561.8 | 525.5 | 304 | 282.2 | 450.1 | 1662.3894 | 480.4471 | 318.9423 | 304.5 | 558.5 | 1754.2737 | 476.1781 | 342.3646 | 388.6031 | 547.128 | 1251 | 835 | 423 | 475
Renewable energy for use by Equinor |  | 124.8418 | 35.7342 | 41.6197 | 48 | 133 | 45.3 | 31.8292 | 20.8745 | 34.9 | 79.5 | 33.3 | 21.4 | 11.4 | 13.4 | 8 | 8
Sum Equinor |  | 2493.2183 | 910.8996 | 825.6067 | 756.712 | 2934.6472 | 828.8 | 677.5601 | 654.3871 | 773.9 | 1937.45 | 694.4 | 373.4 | 345.25 | 524.4 | 1648.67 | 517.4 | 294.4 | 325.4 | 511.47 | 1561.8 | 525.5 | 304 | 282.2 | 450.1 | 1662.3894 | 480.4471 | 318.9423 | 304.5 | 558.5 | 1754.2737 | 476.1781 | 342.3646 | 388.6031 | 547.128 | 1251 | 835 | 423 | 475
*Corrections linked to metering system - updated on asset line, but not affecting the reported totals
**Sum for the Renewables reporting segment
Comments
3Q25:
Ingerslev Å: Coming into operation.
1Q25:
Lyngsåsa: Acquisition of onshore wind farm in Southern Sweden
2Q24:
Lipno: Test production (Wento)
4Q23:
Guañizuil IIA (Solar Argentina): Divested
2Q21:
Arkona: Changed ownershare 1 July 2019 from 50% to 25%